## Data Board (hidden)
| Documents Issued and Checks | [31 empty] | Documents Surrendered
Documents Issued and Checks | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total |  | Total | Outstanding |  |  | Midnight Energy Readings
OF 11 | 11 | 0 | 0 | 0 | 7 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29 | OF 11 | 3 | 26 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | Total
CMMS | 1 | 0 | 0 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 |  |  |  |  | Energy Generated (Relay) MWH | 4000 | 3000 | 1800 | 2200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11000
Work Permit | 1 | 2 | 0 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | Work Permit | 1 | 3 | 15 | Unit Transformer (MWH) | 50 | 80 | 420 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3550
Work and Test Permit | 7 | 1 | 0 |  | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | Work and Test Permits | 3 | 12 |  | Station Transformer (MWH) | 200 | 500 | 300 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3000
Local Checks | 9 | 0 | 0 |  | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 |  |  |  |  | DCS Energy Generated (MWH) | 5000 | 1000 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6300
Hot work Permit | 1 | 0 | 0 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | Hot work Permit | 0 | 2 |  | Make-up Water (Tons) | 200 | 1000 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1600
Confined Space Permit | 0 | 0 | 0 |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | Confined Space Permit | 0 | 1 |  | Gas Consumption (Tons) | 800 | 1000 | 700 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2600
Application for Protection Guarantee | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | MTD Trips | 15

## Summary Dashboard
Make-up Water (Tons) >>
Gas Consumption (Tons) >>
Unit Transformer (MWH)>>
Station Transformer (MWH) >>
Monthly Summary Report
Unit Energy Trends for the month
MWH Generated
Tons of Gas Consumption
Tons of Water Consumed (Make-up)
Unit Consumption for the month
Outstanding Work Permits
15
Outstanding OF 11
26
Outstanding Hot work Permit
2
Outstanding Confined Space Permit
1
11000
2600
1600
15
MTD Trips

## 01
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
[6 empty] | PRESENT | 5000 |  | 1500 |  | 5200
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 1000 |  | 1450 |  | 5000
[6 empty] | ACTUAL | 4000 |  | 50 |  | 200
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 5000
1 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 200
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 800
TIME | ACTIVITIES
12:40 | Faruq of BGC L 13 requested load increase
9:00 | Program data is good |  |  |  |  | UNAVAILABLE AUXILIARIES
| Local checks conducted and no new abnormality found. MOTL = -20mm |  |  |  |  | EQUIPMENT |  |  | REMARK
| In Service: FDCF [B], GAH [A&B], FDF [A&B], CEP [B], BFP [B&C], CBP (B), CWP [A&B], CCCWP [A], GSC Blower [A] and All Burners |  |  |  |  | LP Heaters |  |  | Arc Valve Leakage
7:00 | Local checks conducted and no new abnormality found. MOTL = -20mm Unit handed over on 182MW, 33.5MVar and 50.09Hz. MOTL = -20mm; Condenser Vacuum = 89.2mmHg; Gen. H2 Gas Pressure = 210.0kPag. Also handed over are: 2Nos. Plant DX with charger and Two (2) data handling device. [ANDROID DIGITAL KEYBOARD PDA] with one charger. |  |  |  |  | Burners |  |  | Burners A3 and B3 have damaged swirlers
7:00 | OUT: OVIE / IFESANYA/ ABRAHAM |  |  |  |  | HP Heater 5 |  |  | Suspected tube leakage
7:00 | Checks at Local revealed Seal Oil Vacuum Pump was not running. Attempt to start the Pump failed – trip alarm flagged. |  |  |  |  | CCCWP A |  |  | excessive vibration
7:00 | O.F. 11 No. 03910 issued to Aliu Hamed & co. of Mechanical Maintenance to investigate and rectify fault on Seal Oil Vacuum Pump. |  |  |  |  | FDF B |  |  | excessive vibration
7:00 | O.F. 11 No. 03910 issued to Aliu Hamed & co. of Mechanical Maintenance to investigate and rectify fault on Seal Oil Vacuum Pump.
7:00 | O.F. 11 No. 03910 issued to Aliu Hamed & co. of Mechanical Maintenance to investigate and rectify fault on Seal Oil Vacuum Pump.
7:00 | O.F. 11 No. 03910 issued to Aliu Hamed & co. of Mechanical Maintenance to investigate and rectify fault on Seal Oil Vacuum Pump.
7:00 | O.F. 11 No. 03910 issued to Aliu Hamed & co. of Mechanical Maintenance to investigate and rectify fault on Seal Oil Vacuum Pump.
8:00 | OF 11 was issued to
7:00 | OF 11 was issued to
7:00 | OF 11 was issued to
7:00 | Cancel the counsel |  |  |  |  | DOCUMENTS
7:00 | OF 11 was issued to |  |  |  |  | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
10:00 | OF 11 was issued to |  |  |  |  | OF 11 |  |  | 11 | 1
7:00 | OF 11 was issued to |  |  |  |  | CMMS |  |  | 1
7:00 | O..F 11 #19391 was surrendered by |  |  |  |  | Work Permit |  |  | 1 | 0
7:00 | [5 empty] | Work and Test Permit |  |  | 7 | 1
7:00 | Work permit No. # was issued to |  |  |  |  | Local Checks |  |  | 9
7:00 | Work and test permit was issued to |  |  |  |  | Hot work Permit |  |  | 1 | 0
7:00 | Work & test permit was issued |  |  |  |  | Confined Space Permit |  |  | 0 | 0
7:00 | CMMS No. was raised to |  |  |  |  | Application for Protection Guarantee |  |  | 0
7:00 | CMMS No.
7:00 | CMMS No.
7:00 | CMMS No.
7:00 | Hot work permit was issued
7:00 | Checks carried out at local revealed
7:00 | Local Checks
7:00 | Local Checks
7:00 | Local Checks
7:00 | Local Checks
7:00 | Checks were carried out at every local
7:00 | OF 1 was issued
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 02
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
[6 empty] | PRESENT | 8000 |  | 1580 |  | 5700
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 5000 |  | 1500 |  | 5200
[6 empty] | ACTUAL | 3000 |  | 80 |  | 500
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 1000
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 1000
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 1000
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
| Work Permit was issued |  |  |  |  | BFP B |  |  | Arc Valve Leakage
| OF 2 was issued to |  |  |  |  | Burners |  |  | Burners A3 and B3 have damaged swirlers
| Permit to work was surrendered |  |  |  |  | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
OF 3 was issued
OF 1 was issued to
DOCUMENTS
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 2 | 1
[6 empty] | Work and Test Permit |  |  | 1 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 03
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
[6 empty] | PRESENT | 9800 |  | 2000 |  | 6000
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 8000 |  | 1580 |  | 5700
[6 empty] | ACTUAL | 1800 |  | 420 |  | 300
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 300
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 400
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 700
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 04
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 1
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
[6 empty] | PRESENT | 12000 |  | 5000 |  | 8000
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 9800 |  | 2000 |  | 6000
[6 empty] | ACTUAL | 2200 |  | 3000 |  | 2000
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
Load loss of 180 MW was experienced
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 05
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 12000 |  | 5000 |  | 8000
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS)
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
confined space permit was issued to
| OF 11 issued to |  |  |  |  | ACTIVITIES
| OF 11 issued to |  |  |  |  | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
| OF 11 issued to |  |  |  |  | OF 11 |  |  | 7 | 0
| OF 11 issued to |  |  |  |  | CMMS |  |  | 0
| OF 11 issued to |  |  |  |  | Work Permit |  |  | 0 | 0
| OF 11 issued to |  |  |  |  | Work and Test Permit |  |  | 0 | 0
| OF 11 issued to |  |  |  |  | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 1 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 06
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
Local checks conducted and no new abnormality found. MOTL = -20mm
| In Service: FDCF [B], GAH [A&B], FDF [A&B], CEP [B], BFP [B&C], CBP (B), CWP [A&B], CCCWP [A], GSC Blower [A] and All Burners |  |  |  |  | ACTIVITIES
| Local checks conducted and no new abnormality found. MOTL = -20mm Unit handed over on 182MW, 33.5MVar and 50.09Hz. MOTL = -20mm; Condenser Vacuum = 89.2mmHg; Gen. H2 Gas Pressure = 210.0kPag. Also handed over are: 2Nos. Plant DX with charger and Two (2) data handling device. [ANDROID DIGITAL KEYBOARD PDA] with one charger. |  |  |  |  | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
| OUT: OVIE / IFESANYA/ ABRAHAM |  |  |  |  | OF 11 |  |  | 11 | 1
| Checks at Local revealed Seal Oil Vacuum Pump was not running. Attempt to start the Pump failed – trip alarm flagged. |  |  |  |  | CMMS |  |  | 1
| O.F. 11 No. 03910 issued to Aliu Hamed & co. of Mechanical Maintenance to investigate and rectify fault on Seal Oil Vacuum Pump. |  |  |  |  | Work Permit |  |  | 1 | 0
| O.F. 11 No. 03910 issued to Aliu Hamed & co. of Mechanical Maintenance to investigate and rectify fault on Seal Oil Vacuum Pump. |  |  |  |  | Work and Test Permit |  |  | 7 | 1
| O.F. 11 No. 03910 issued to Aliu Hamed & co. of Mechanical Maintenance to investigate and rectify fault on Seal Oil Vacuum Pump. |  |  |  |  | Local Checks |  |  | 5
| O.F. 11 No. 03910 issued to Aliu Hamed & co. of Mechanical Maintenance to investigate and rectify fault on Seal Oil Vacuum Pump. |  |  |  |  | Hot work Permit |  |  | 1 | 0
| O.F. 11 No. 03910 issued to Aliu Hamed & co. of Mechanical Maintenance to investigate and rectify fault on Seal Oil Vacuum Pump. |  |  |  |  | Confined Space Permit |  |  | 0 | 0
| OF 11 was issued to |  |  |  |  | Application for Protection Guarantee |  |  | 0
OF 11 was issued to
OF 11 was issued to
OF 11 was issued to
OF 11 was issued to
OF 11 was issued to
O..F 11 #19391 was surrendered by
Work permit No. # was issued to
Work and test permit was issued to
Work & test permit was issued
CMMS No. was raised to
CMMS No.
CMMS No.
CMMS No.
Hot work permit was issued
Checks carried out at local revealed
Local Checks
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 07
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 08
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 09
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 100
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
| OF 11 #3534 was surrendered to |  |  |  |  | OF 11 |  |  | 0 | 1
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 1
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 10
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
9:00 | Burners B2, B3 and B4 started on auto |  |  |  |  | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 11
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 12
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 13
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 14
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 15
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 16
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 17
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 1
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
Load loss of 10MW
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 18
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 19
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 20
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 21
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 22
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 13
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
| Load Loss of 100 MW occurred at 10am |  |  |  |  | Work Permit |  |  | 0 | 0
| Load Loss of 100 MW occurred at 10am |  |  |  |  | Work and Test Permit |  |  | 0 | 0
| Load Loss of 100 MW occurred at 10am |  |  |  |  | Local Checks |  |  | 0
| Load Loss of 100 MW occurred at 10am |  |  |  |  | Hot work Permit |  |  | 0 | 0
| Load Loss of 100 MW occurred at 10am |  |  |  |  | Confined Space Permit |  |  | 0 | 0
| Load Loss of 100 MW occurred at 10am |  |  |  |  | Application for Protection Guarantee |  |  | 0
Load Loss of 100 MW occurred at 10am
Load Loss of 100 MW occurred at 10am
Load Loss of 100 MW occurred at 10am
Load Loss of 100 MW occurred at 10am
Load Loss of 100 MW occurred at 10am
Load Loss of 100 MW occurred at 10am
Load Loss of 100 MW occurred at 10am
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 23
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 24
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 25
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 26
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 27
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 28
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 29
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 30
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 0
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09

## 31
EGBIN POWER PLC | [5 empty] | Unit Trips>>> |  |  | 0
| CENTRAL CONTROL ROOM LOG SHEET |  |  |  |  | MIDNIGHT ENERGY METER READINGS
LOG TYPE: | BTG-B ST 1 |  |  | DAY: | TUESDAY |  | GEN.(MWH) |  | UNIT TRF. (MWH) |  | ST. TRF. (MWH)
PRESENT
TIME: | 00:00-24:00 | SHIFT | D | DATE: | 2021-06-08 | PREVIOUS | 0 |  | 0 |  | 0
[6 empty] | ACTUAL | 0 |  | 0 |  | 0
UNIT | PLANT STATUS | REMARKS |  |  |  | TOTAL ENERGY GENERATED (DCS) |  |  |  | 0
2 | 220 MW |  |  |  |  | TOTAL MAKE-UP WATER CONSUMED |  |  |  | 0
[6 empty] | TOTAL FUEL GAS CONSUMED (Tons) |  |  |  | 0
TIME | ACTIVITIES
UNAVAILABLE AUXILIARIES
[6 empty] | EQUIPMENT |  |  | REMARK
[6 empty] | BFP B |  |  | Arc Valve Leakage
[6 empty] | Burners |  |  | Burners A3 and B3 have damaged swirlers
[6 empty] | HP Heater 5 |  |  | Suspected tube leakage
[6 empty] | CCCWP A |  |  | excessive vibration
[6 empty] | FDF B |  |  | excessive vibration
Application for protection guarantee was received from blabla
ACTIVITIES
[6 empty] | ITEM |  |  | ISSUED/RAISED (No.) | SURRENDERED
[6 empty] | OF 11 |  |  | 0 | 0
[6 empty] | CMMS |  |  | 0
[6 empty] | Work Permit |  |  | 0 | 0
[6 empty] | Work and Test Permit |  |  | 0 | 0
[6 empty] | Local Checks |  |  | 0
[6 empty] | Hot work Permit |  |  | 0 | 0
[6 empty] | Confined Space Permit |  |  | 0 | 0
[6 empty] | Application for Protection Guarantee |  |  | 1
APPROVAL
[6 empty] | STAFF |  | ASM |  | SM
[6 empty] | SHIFT | D | DATE |  | 2021-06-09